HYUNDAI H1 AMBULANCE SPECIFICATION

Hyundai Technical Specification

| MAKE |  | : | HYUNDAI |
| --- | --- | --- | --- |
| MODEL |  | : | H1 12 STR GLS BUS (P) AT (2012 MY) |
| SEATING CAPACITY |  | : | 12 |
| OVERALL DIMENSION (LxWxH) | (mm) | : | 5,125 x 1,920 x 1925 |
| WHEEL BASE | (mm) | : | 3,200 |
| GROUND CLEARANCE | (mm) | : | 190 |
| ENGINE TYPE |  | : | 2359cc, PETROL 4 CYLINDER –IN LINE |
| MAX OUTPUT | (ps/rpm) | : | 172.4 / 6,000 |
| MAX. TORQUE | (Kg-m/rpm) | : | 23.2 / 4,200 |
| TRANSMISSION |  | : | 5 SPEED ,MANUAL TRANSMISSION WITH OVERDRIVE |
| SUSPENSION |  | : |  |
| FRONT |  | : | MACPHERSON STRUT TYPE |
| REAR |  | : | RIGID AXLE 5LINK |
| BRAKES |  | : |  |
| FRONT |  | : | VENTILATED DISC |
| REAR |  | : | VENTILATED DISC |
| STEERING |  | : | RACK & PINION TYPE WITH POWER ASSIST |
| TYRE SIZE |  | : | 215 / 70 R16 |
| FUEL TANK CAPACITY |  | : | 75 LITRES |
| MIN TURNING RADIUS |  | : | 5.61 |

AM / FM STEREO CASSETTE PLAYER. 		ABS

TILT STEERING					2ND SEAT ARM REST

DIGITAL CLOCK.					FLUSH GLASS

MANUAL AIR CONDITIONER	 		KEYLESS ENTRY

CHILD SAFETY REAR DOOR LOCKS		STEERING WITH REMOTE CONTROL

DAY& NIGHT INSIDE REAR VIEW MIRROR	REAR VIEW MIRROR

FRONT POWER WINDOWS				HMSL SPOILER

TWIN GLOBE BOX					VANITY MIRROR WITH

ILLUMINATION

Converted into a type I medical ambulance as per the accepted specifications:

- Multi Flashing Beacon Light (Chinese)

- Oxygen cylinder (Chinese)

- Oxygen regulator

- Oxygen humidifier with mask

- Side pack rest

- Siren w/control switch+ speaker 100watt

- Floor covered with plywood & fiber & lamination

- Vinyl cover

- Fire stop 2

- Ambulance Sticker

- Attendant Seat for 2 persons

- One extra seat if possible

- Automatic Loading Stretcher (Chinese)

- Partition open top

- 4 point isolation floor with sealing

- Stethoscope (Chinese)LITTMAN

- Sphygmomanometer (Chinese)

- Ceiling mounted drip bottle 2

- Ceiling net shelf

- Cabinet for medical items

- Double cabinet for storing medical item

- Electrical control panel

- All kind of warning sticker

- Storage

- Ten pairs of disposable gloves

- Five bandages of 5x5

- A sterile gauze package x 10 units

- A plastic bottle of 250 cc with alcohol

- Five disposable syringes x 5 cc

- Five disposable syringes x 10 CC

- Extra light

- First aid box 50 persons (Chinese)

- First aid box 12 person

- I.V hook

- Stationary resuscitator with oxygen cylinder 10 liter  (Chinese)

- Ambo bag (Chinese)

- Electrical suction  (Chinese)

- Laryngoscope  	(Chinese)